## DP
s4bldg:accessType | s4bldg#Tank | string
s4bldg:application | s4bldg#Humidifier | string
s4bldg:arrangement | s4bldg#HeatExchanger | string
s4bldg:bladeAction | s4bldg#Damper | string
s4bldg:bladeEdge | s4bldg#Damper | string
s4bldg:bladeShape | s4bldg#Damper | string
s4bldg:capacityControl | s4bldg#CoolingTower | string
s4bldg:capacityControlType | s4bldg#Fan | string
s4bldg:capacityPeople | s4bldg#TransportElement | positiveInteger
s4bldg:circuitType | s4bldg#CoolingTower | string
s4bldg:colorAppearance | s4bldg#Lamp | string
s4bldg:colorRenderingIndex | s4bldg#Lamp | integer
s4bldg:controlStrategy | s4bldg#CoolingTower | string
s4bldg:endShapeType | s4bldg#Tank | string
s4bldg:energySource | s4bldg#Burner | string
s4bldg:energySource | s4bldg#Engine | string
s4bldg:energySource | s4bldg#SpaceHeater | string
s4bldg:energySource | s4bldg#Boiler | string
s4bldg:evaporationCoolant | s4bldg#Evaporator | string
s4bldg:evaporationMediumType | s4bldg#Evaporator | string
s4bldg:failPosition | s4bldg#Actuator | string
s4bldg:finishColor | s4bldg#CooledBeam | string
s4bldg:fireExit | s4bldg#TransportElement | boolean
s4bldg:flowArrangement | s4bldg#EvaporativeCooler | string
s4bldg:flowArrangement | s4bldg#CoolingTower | string
s4bldg:frameSize | s4bldg#ElectricMotor | string
s4bldg:frameType | s4bldg#Damper | string
s4bldg:hasDefrost | s4bldg#AirToAirHeatRecovery | boolean
s4bldg:hasExteriorInsulation | s4bldg#DuctSilencer | boolean
s4bldg:hasHotGasBypass | s4bldg#Compressor | boolean
s4bldg:hasLock | s4bldg#SwitchingDevice | boolean
s4bldg:hasPartWinding | s4bldg#ElectricMotor | boolean
s4bldg:hasTurbulator | s4bldg#TubeBundle | boolean
s4bldg:heatTransferDimension | s4bldg#SpaceHeater | string
s4bldg:heatTransferMedium | s4bldg#SpaceHeater | string
s4bldg:heatTransferTypeEnum | s4bldg#AirToAirHeatRecovery | string
s4bldg:integratedLightingType | s4bldg#CooledBeam | string
s4bldg:internalControl | s4bldg#Humidifier | string
s4bldg:isExternal | s4bldg#ShadingDevice | boolean
s4bldg:isFreeHanging | s4bldg#CooledBeam | boolean
s4bldg:isGuarded | s4bldg#ElectricMotor | boolean
s4bldg:isIlluminated | s4bldg#SwitchingDevice | boolean
s4bldg:isNeutralPrimaryTerminalAvailable | s4bldg#Transformer | boolean
s4bldg:isNeutralSecondaryTerminalAvailable | s4bldg#Transformer | boolean
s4bldg:isPluggableOutlet | s4bldg#Outlet | boolean
s4bldg:isWaterStorageHeater | s4bldg#Boiler | boolean
s4bldg:lampBallastType | s4bldg#Lamp | string
s4bldg:lampCompensationType | s4bldg#Lamp | string
s4bldg:legend | s4bldg#SwitchingDevice | string
s4bldg:manualOverride | s4bldg#Actuator | boolean
s4bldg:mechanicalOperated | s4bldg#ShadingDevice | boolean
s4bldg:mediaSource | s4bldg#AudioVisualAppliance | string
s4bldg:motorDriveType | s4bldg#Fan | string
s4bldg:motorEnclosureType | s4bldg#ElectricMotor | string
s4bldg:numberOfBlades | s4bldg#Damper | integer
s4bldg:numberOfCells | s4bldg#CoolingTower | integer
s4bldg:numberOfCircuits | s4bldg#TubeBundle | integer
s4bldg:numberOfGangs | s4bldg#SwitchingDevice | integer
s4bldg:numberOfPanels | s4bldg#SpaceHeater | integer
s4bldg:numberOfRows | s4bldg#TubeBundle | integer
s4bldg:numberOfSections | s4bldg#Tank | integer
s4bldg:numberOfSections | s4bldg#SpaceHeater | integer
s4bldg:numberOsSockets | s4bldg#Outlet | integer
s4bldg:operatingMode | s4bldg#Boiler | string
s4bldg:operation | s4bldg#Damper | string
s4bldg:orientation | s4bldg#Damper | string
s4bldg:patternType | s4bldg#Tank | string
s4bldg:pipeConnectionEnum | s4bldg#CooledBeam | string
s4bldg:placementType | s4bldg#Coil | string
s4bldg:placementType | s4bldg#SpaceHeater | string
s4bldg:powerSource | s4bldg#Compressor | string
s4bldg:readOutType | s4bldg#FlowMeter | string
s4bldg:refrigerantClass | s4bldg#Evaporator | string
s4bldg:refrigerantClass | s4bldg#Compressor | string
s4bldg:refrigerantClass | s4bldg#Condenser | string
s4bldg:remoteReading | s4bldg#FlowMeter | boolean
s4bldg:roughness | s4bldg#ShadingDevice | string
s4bldg:secondaryCurrentType | s4bldg#Transformer | string
s4bldg:shadingDeviceType | s4bldg#ShadingDevice | string
s4bldg:shortCircuitVoltage | s4bldg#Transformer | complexNumber
s4bldg:sprayType | s4bldg#CoolingTower | string
s4bldg:standard | s4bldg#ProtectiveDeviceTrippingUnit | string
s4bldg:storageType | s4bldg#Tank | string
s4bldg:switchFunction | s4bldg#SwitchingDevice | string
s4bldg:temperatureClassification | s4bldg#SpaceHeater | string
s4bldg:transformerVectorGroup | s4bldg#Transformer | string
s4bldg:valveMechanism | s4bldg#Valve | string
s4bldg:valveOperation | s4bldg#Valve | string
s4bldg:valvePattern | s4bldg#Valve | string
s4bldg:waterFlowControlSystemType | s4bldg#CooledBeam | string

## OP
s4bldg:airFlowRateRangeMax | s4bldg#DuctSilencer | realRealRange
s4bldg:airFlowRateRangeMax | s4bldg#Coil | realRealRange
s4bldg:airFlowRateRangeMin | s4bldg#DuctSilencer | realRealRange
s4bldg:airFlowRateRangeMin | s4bldg#Coil | realRealRange
s4bldg:ambientDesignDryBulbTemperature | s4bldg#CoolingTower | float
s4bldg:ambientDesignWetBulbTemperature | s4bldg#CoolingTower | float
s4bldg:audioVolume | s4bldg#AudioVisualAppliance | float
s4bldg:basinReserveVolume | s4bldg#CoolingTower | float
s4bldg:bladeThickness | s4bldg#Damper | float
s4bldg:bodyMass | s4bldg#SpaceHeater | float
s4bldg:capacityWeight | s4bldg#TransportElement | float
s4bldg:closeOffRating | s4bldg#Damper | float
s4bldg:closeOffRating | s4bldg#Valve | float
s4bldg:coilLength | s4bldg#CooledBeam | float
s4bldg:coilWidth | s4bldg#CooledBeam | float
s4bldg:colorTempeature | s4bldg#Lamp | float
s4bldg:compressorSpeed | s4bldg#Compressor | float
s4bldg:connectionSize | s4bldg#Pump | float
s4bldg:contributedLuminousFlux | s4bldg#Lamp | float
s4bldg:coverLength | s4bldg#Interceptor | float
s4bldg:coverWidth | s4bldg#Interceptor | float
s4bldg:effectiveCapacity | s4bldg#Tank | float
s4bldg:electricGeneratorEfficiency | s4bldg#ElectricGenerator | float
s4bldg:electricMotorEfficiency | s4bldg#ElectricMotor | float
s4bldg:externalSurfaceArea | s4bldg#Evaporator | float
s4bldg:externalSurfaceArea | s4bldg#Condenser | float
s4bldg:faceArea | s4bldg#Damper | float
s4bldg:finalResistance | s4bldg#Filter | float
s4bldg:firstCurvatureRadius | s4bldg#Tank | float
s4bldg:flowCoefficient | s4bldg#Valve | float
s4bldg:flowRateRangeMax | s4bldg#Pump | realRealRange
s4bldg:flowRateRangeMax | s4bldg#Filter | realRealRange
s4bldg:flowRateRangeMin | s4bldg#Pump | realRealRange
s4bldg:flowRateRangeMin | s4bldg#Filter | realRealRange
s4bldg:flowResistanceRangeMax | s4bldg#Pump | realRealRange
s4bldg:flowResistanceRangeMin | s4bldg#Pump | realRealRange
s4bldg:foulingFactor | s4bldg#TubeBundle | float
s4bldg:frameDepth | s4bldg#Damper | float
s4bldg:frameThickness | s4bldg#Damper | float
s4bldg:heatExchangeArea | s4bldg#EvaporativeCooler | float
s4bldg:heatTransferSurfaceArea | s4bldg#Boiler | float
s4bldg:height | s4bldg#VibrationIsolator | float
s4bldg:horizontalSpacing | s4bldg#TubeBundle | float
s4bldg:hydraulicDiameter | s4bldg#DuctSilencer | float
s4bldg:idealCapacity | s4bldg#Compressor | float
s4bldg:idealShaftPower | s4bldg#Compressor | float
s4bldg:imaginaryImpedanceRatio | s4bldg#Transformer | float
s4bldg:impellerDiameter | s4bldg#Compressor | float
s4bldg:initialResistance | s4bldg#Filter | float
s4bldg:inletConnectionSize | s4bldg#Interceptor | float
s4bldg:inLineRowSpacing | s4bldg#TubeBundle | float
s4bldg:insideDiameter | s4bldg#TubeBundle | float
s4bldg:internalRefrigerantVolume | s4bldg#Evaporator | float
s4bldg:internalRefrigerantVolume | s4bldg#Condenser | float
s4bldg:internalSurfaceArea | s4bldg#Evaporator | float
s4bldg:internalSurfaceArea | s4bldg#Condenser | float
s4bldg:internalWaterVolume | s4bldg#Evaporator | float
s4bldg:internalWaterVolume | s4bldg#Condenser | float
s4bldg:isolatorCompressibility | s4bldg#VibrationIsolator | float
s4bldg:isolatorStaticDeflection | s4bldg#VibrationIsolator | float
s4bldg:lampMaintenanceFactor | s4bldg#Lamp | float
s4bldg:leakageFullyClosed | s4bldg#Damper | float
s4bldg:length | s4bldg#DuctSilencer | float
s4bldg:length | s4bldg#TubeBundle | float
s4bldg:liftElevationDifference | s4bldg#CoolingTower | float
s4bldg:lightEmitterNominalPower | s4bldg#Lamp | float
s4bldg:limitingTerminalSize | s4bldg#ProtectiveDeviceTrippingUnit | float
s4bldg:lockedRotorCurrent | s4bldg#ElectricMotor | float
s4bldg:maximumAirFlowRate | s4bldg#Damper | float
s4bldg:maximumApparentPower | s4bldg#Transformer | float
s4bldg:maximumPartLoadRatio | s4bldg#Compressor | float
s4bldg:maximumPowerOutput | s4bldg#ElectricGenerator | float
s4bldg:maximumPowerOutput | s4bldg#ElectricMotor | float
s4bldg:maximumSupportedWeight | s4bldg#VibrationIsolator | float
s4bldg:maximumWorkingPressure | s4bldg#Damper | float
s4bldg:minimunPartLoadRatio | s4bldg#Compressor | float
s4bldg:netPositiveSuctionHead | s4bldg#Pump | float
s4bldg:nominalAirFlowRate | s4bldg#Humidifier | float
s4bldg:nominalAirFlowRate | s4bldg#Fan | float
s4bldg:nominalAirFlowRate | s4bldg#Damper | float
s4bldg:nominalBodyDepth | s4bldg#Interceptor | float
s4bldg:nominalBodyLength | s4bldg#Interceptor | float
s4bldg:nominalBodyWidth | s4bldg#Interceptor | float
s4bldg:nominalCapacity | s4bldg#Tank | float
s4bldg:nominalCapacity | s4bldg#Chiller | float
s4bldg:nominalCapacity | s4bldg#Compressor | float
s4bldg:nominalCapcity | s4bldg#CoolingTower | float
s4bldg:nominalCondensingTemperature | s4bldg#Chiller | float
s4bldg:nominalCoolingCapacity | s4bldg#CooledBeam | float
s4bldg:nominalDepth | s4bldg#Tank | float
s4bldg:nominalDiameter | s4bldg#TubeBundle | float
s4bldg:nominalEfficiency | s4bldg#Chiller | float
s4bldg:nominalEnergyConsumption | s4bldg#Boiler | float
s4bldg:nominalEvaporatingTemmperature | s4bldg#Chiller | float
s4bldg:nominalFilterFaceVelocity | s4bldg#Filter | float
s4bldg:nominalFlowRate | s4bldg#Filter | float
s4bldg:nominalFrequency | s4bldg#ElectricFlowStorageDevice | float
s4bldg:nominalHeatingCapacity | s4bldg#CooledBeam | float
s4bldg:nominalHeatRejectionRate | s4bldg#Chiller | float
s4bldg:nominalHeatTransferArea | s4bldg#Evaporator | float
s4bldg:nominalHeatTransferArea | s4bldg#Condenser | float
s4bldg:nominalHeatTransferCoefficient | s4bldg#Evaporator | float
s4bldg:nominalHeatTransferCoefficient | s4bldg#Condenser | float
s4bldg:nominalLatentCapacity | s4bldg#Coil | float
s4bldg:nominalLengthOrDiameter | s4bldg#Tank | float
s4bldg:nominalMediaSurfaceVelocity | s4bldg#Filter | float
s4bldg:nominalMoistureGain | s4bldg#Humidifier | float
s4bldg:nominalParticleGeometricMeanDiameter | s4bldg#Filter | float
s4bldg:nominalParticleGeometricStandardDeviation | s4bldg#Filter | float
s4bldg:nominalPartLoadRatio | s4bldg#Boiler | realRealRange
s4bldg:nominalPowerConsumption | s4bldg#Chiller | float
s4bldg:nominalPowerRate | s4bldg#Fan | float
s4bldg:nominalPressureDrop | s4bldg#Filter | float
s4bldg:nominalReturnWaterTemperatureCooling | s4bldg#CooledBeam | float
s4bldg:nominalReturnWaterTemperatureHeating | s4bldg#CooledBeam | float
s4bldg:nominalRotationSpeed | s4bldg#Fan | float
s4bldg:nominalSensibleCapacity | s4bldg#Coil | float
s4bldg:nominalSorroundingHumidityCooling | s4bldg#CooledBeam | float
s4bldg:nominalSorroundingTemperatureCooling | s4bldg#CooledBeam | float
s4bldg:nominalSorroundingTemperatureHeating | s4bldg#CooledBeam | float
s4bldg:nominalStaticPressure | s4bldg#Fan | float
s4bldg:nominalSupplyVoltage | s4bldg#ElectricFlowStorageDevice | float
s4bldg:nominalSupplyVoltageOffsetMax | s4bldg#ElectricFlowStorageDevice | realRealRange
s4bldg:nominalSupplyVoltageOffsetMin | s4bldg#ElectricFlowStorageDevice | realRealRange
s4bldg:nominalSupplyWaterTemperatureCooling | s4bldg#CooledBeam | float
s4bldg:nominalSupplyWaterTemperatureHeating | s4bldg#CooledBeam | float
s4bldg:nominalTotalPressure | s4bldg#Fan | float
s4bldg:nominalUa | s4bldg#Coil | float
s4bldg:nominalWaterFlowCooling | s4bldg#CooledBeam | float
s4bldg:nominalWaterFlowHeating | s4bldg#CooledBeam | float
s4bldg:nominalWidthOrDiameter | s4bldg#Tank | float
s4bldg:nomminalRotationSpeed | s4bldg#Pump | float
s4bldg:openPressureDrop | s4bldg#Damper | float
s4bldg:operatingWight | s4bldg#Tank | float
s4bldg:operationalRiterial | s4bldg#Fan | float
s4bldg:operationTemperatureRangeMax | s4bldg#EvaporativeCooler | realRealRange
s4bldg:operationTemperatureRangeMax | s4bldg#AirToAirHeatRecovery | realRealRange
s4bldg:operationTemperatureRangeMax | s4bldg#Coil | realRealRange
s4bldg:operationTemperatureRangeMax | s4bldg#Fan | realRealRange
s4bldg:operationTemperatureRangeMax | s4bldg#Filter | realRealRange
s4bldg:operationTemperatureRangeMin | s4bldg#CoolingTower | float
s4bldg:operationTemperatureRangeMin | s4bldg#EvaporativeCooler | realRealRange
s4bldg:operationTemperatureRangeMin | s4bldg#AirToAirHeatRecovery | realRealRange
s4bldg:operationTemperatureRangeMin | s4bldg#Coil | realRealRange
s4bldg:operationTemperatureRangeMin | s4bldg#Fan | realRealRange
s4bldg:operationTemperatureRangeMin | s4bldg#Filter | realRealRange
s4bldg:outletConnectionSize | s4bldg#Interceptor | float
s4bldg:outletTemperatureRangeMax | s4bldg#Boiler | realRealRange
s4bldg:outletTemperatureRangeMin | s4bldg#Boiler | realRealRange
s4bldg:outputCapacity | s4bldg#SpaceHeater | float
s4bldg:outsideDiameter | s4bldg#TubeBundle | float
s4bldg:pressureRating | s4bldg#Boiler | float
s4bldg:primaryAirFlowRateRangeMax | s4bldg#AirToAirHeatRecovery | realRealRange
s4bldg:primaryAirFlowRateRangeMin | s4bldg#AirToAirHeatRecovery | realRealRange
s4bldg:primaryApparentPower | s4bldg#Transformer | float
s4bldg:primaryCurrent | s4bldg#Transformer | float
s4bldg:primaryFrequency | s4bldg#Transformer | float
s4bldg:primaryVoltage | s4bldg#Transformer | float
s4bldg:realImpedanceRatio | s4bldg#Transformer | float
s4bldg:secondaryAirFlowRateRangeMax | s4bldg#AirToAirHeatRecovery | realRealRange
s4bldg:secondaryAirFlowRateRangeMin | s4bldg#AirToAirHeatRecovery | realRealRange
s4bldg:secondaryApparentPower | s4bldg#Transformer | float
s4bldg:secondaryCurrent | s4bldg#Transformer | float
s4bldg:secondaryFrequency | s4bldg#Transformer | float
s4bldg:secondaryVoltage | s4bldg#Transformer | float
s4bldg:secondCurvatureRadius | s4bldg#Tank | float
s4bldg:size | s4bldg#Valve | float
s4bldg:solarReflectance | s4bldg#ShadingDevice | float
s4bldg:solarTransmittance | s4bldg#ShadingDevice | float
s4bldg:spectrumMax | s4bldg#Lamp | realRealRange
s4bldg:spectrumMin | s4bldg#Lamp | realRealRange
s4bldg:staggeredRowSpacing | s4bldg#TubeBundle | float
s4bldg:startCurrentFactor | s4bldg#ElectricGenerator | float
s4bldg:startCurrentFactor | s4bldg#ElectricMotor | float
s4bldg:startingTime | s4bldg#ElectricMotor | float
s4bldg:temperatureRangeMax | s4bldg#Pump | realRealRange
s4bldg:temperatureRangeMax | s4bldg#DuctSilencer | realRealRange
s4bldg:temperatureRangeMax | s4bldg#Damper | realRealRange
s4bldg:temperatureRangeMin | s4bldg#Pump | realRealRange
s4bldg:temperatureRangeMin | s4bldg#DuctSilencer | realRealRange
s4bldg:temperatureRangeMin | s4bldg#Damper | realRealRange
s4bldg:temperatureRating | s4bldg#Damper | float
s4bldg:testPressure | s4bldg#Valve | float
s4bldg:teTime | s4bldg#ElectricMotor | float
s4bldg:thermalConductivity | s4bldg#TubeBundle | float
s4bldg:thermalEfficiency | s4bldg#SpaceHeater | float
s4bldg:thermalMassHeatCapacity | s4bldg#SpaceHeater | float
s4bldg:thermalTransmittance | s4bldg#ShadingDevice | float
s4bldg:ventilatingPipeSize | s4bldg#Interceptor | float
s4bldg:verticalSpacing | s4bldg#TubeBundle | float
s4bldg:vibrationTransmissibility | s4bldg#VibrationIsolator | float
s4bldg:visibleLightReflectance | s4bldg#ShadingDevice | float
s4bldg:visibleLightTransmittance | s4bldg#ShadingDevice | float
s4bldg:volumen | s4bldg#TubeBundle | float
s4bldg:waterInletTemperatureRangeMax | s4bldg#Boiler | realRealRange
s4bldg:waterInletTemperatureRangeMin | s4bldg#Boiler | realRealRange
s4bldg:waterPressureRangeMax | s4bldg#CooledBeam | realRealRange
s4bldg:waterPressureRangeMin | s4bldg#CooledBeam | realRealRange
s4bldg:waterRequirement | s4bldg#Humidifier | float
s4bldg:waterRequirement | s4bldg#EvaporativeCooler | float
s4bldg:waterRequirement | s4bldg#CoolingTower | float
s4bldg:waterStorageCapacity | s4bldg#Boiler | float
s4bldg:weight | s4bldg#Humidifier | float
s4bldg:weight | s4bldg#DuctSilencer | float
s4bldg:weight | s4bldg#Filter | float
s4bldg:workingPressure | s4bldg#Valve | float
s4bldg:workingPressureRangeMax | s4bldg#DuctSilencer | realRealRange
s4bldg:workingPressureRangeMin | s4bldg#DuctSilencer | realRealRange